## Sheet1
Annotator_name | Anonymized_ID | Left image impression | Right image impression | I prefer | Comments
Observer 1 | 1 | AI | Real | Left | Left has better margins between structures
Observer 1 | 2 | AI | Real | Left | Better visualization of Rt level 2 cervical LN
Observer 1 | 3 | Real | AI | Right | Better visualization of tumor at BOT
Observer 1 | 4 | AI | Real | Left
Observer 1 | 5 | Real | AI | Left
Observer 1 | 6 | AI | Real | Right | Better visualization of submandibular glands at Rt
Observer 1 | 7 | Real | AI | Left | Better demarcation between sbmandibular gland and cervical LN at LT
Observer 1 | 8 | Real | AI | Right | Better visualization of Level 2 cervical LN at Rt
Observer 1 | 9 | Real | AI | Right | GTV P & N are better seen at Rt
Observer 1 | 10 | AI | Real | Left
Observer 1 | 11 | Real | AI | Left
Observer 1 | 12 | Real | AI | Right | Better visualization of normal tissues at Rt
Observer 1 | 13 | Real | AI | Right
Observer 1 | 14 | AI | Real | Left | GTVP is better seen at L
Observer 1 | 15 | AI | Real | Right | Less noise at Rt
Observer 1 | 16 | Real | AI | Right
Observer 1 | 17 | AI | Real | Right | Better visualization of tumor at Rt
Observer 1 | 18 | AI | Real | Left | can't see different between both
Observer 1 | 19 | AI | Real | Left | Level 2 LN is better seen at Lt
Observer 1 | 20 | Real | AI | Right | Less noise at Rt
Observer 1 | 21 | AI | Real | Left
Observer 1 | 22 | AI | Real | Left | Better demarcation of submandibular glands at Lt
Observer 1 | 23 | AI | Real | Right | Level 2 cervical LN appears cystic at Lt, while it may be not
Observer 1 | 24 | AI | Real | Right | Better visulaization of GTVP at Rt
Observer 1 | 25 | Real | AI | Left | Better visulaization of GTVP at Lt
Observer 1 | 26 | AI | Real | Right
Observer 1 | 27 | Real | AI | Left
Observer 1 | 28 | Real | AI | Right | Lt RP is better seen at Rt
Observer 1 | 29 | AI | Real | Left | GTVP, GTVN are better seen at Lt
Observer 1 | 30 | Real | AI | Left | GTVP, GTVN are better seen at Lt
Observer 1 | 31 | Real | AI | Right
Observer 1 | 32 | Real | AI | Right
Observer 1 | 33 | AI | Real | Left
Observer 1 | 34 | AI | Real | Left | Both are of poor quality
Observer 1 | 35 | Real | AI | Right | Rt has less noise, better visulaization of tumor
Observer 1 | 36 | Real | AI | Right
Observer 1 | 37 | AI | Real | Left
Observer 1 | 38 | AI | Real | Left
Observer 1 | 39 | Real | AI | Right | No difference between both
Observer 1 | 40 | AI | Real | Left
Observer 1 | 41 | Real | AI | Right | Lt RP is better seen at Rt
Observer 1 | 42 | Real | AI | Right | No difference between both
Observer 1 | 43 | AI | Real | Left | Better visualization of GTVP, GTVN at Lt
Observer 1 | 44 | AI | Real | Right | GTVP is better seen at Rt
Observer 1 | 45 | AI | Real | Left | GTVN is better seen at Lt
Observer 1 | 46 | Real | AI | Right | No difference between both
Observer 1 | 47 | Real | AI | Left | Tumor is better seen at Lt
Observer 1 | 48 | AI | Real | Left | Level 2 cervical LN is better seen at Lt
Observer 1 | 49 | AI | Real | Right
Observer 1 | 50 | AI | Real | Left | GTVP is better seen at Lt
Observer 1 | 51 | Real | AI | Right
Observer 1 | 52 | Real | AI | Left | Less noise at Lt
Observer 1 | 53 | AI | Real | Left | No great difference between both
Observer 1 | 54 | Real | AI | Right
Observer 1 | 55 | AI | Real | Right | Better visualization of tumor
Observer 1 | 56 | AI | Real | Left | Rt level 2 cervical LN is better seen at Lt
Observer 1 | 57 | AI | Real | Left
Observer 1 | 58 | AI | Real | Left | No difference between both
Observer 1 | 59 | AI | Real | Left | Less noise at Lt
Observer 1 | 60 | AI | Real | Left
Observer 1 | 61 | AI | Real | Left | Lt RP is better seen at Lt
Observer 1 | 62 | AI | Real | Left
Observer 1 | 63 | Real | AI | Right
Observer 1 | 64 | Real | AI | Left
Observer 1 | 65 | AI | Real | Left
Observer 1 | 66 | Real | AI | Right
Observer 1 | 67 | Real | AI | Right | No great difference between both
Observer 1 | 68 | Real | AI | Left | Tumor is better seen at Lt
Observer 1 | 69 | AI | Real | Left | Less noise at Lt
Observer 1 | 70 | AI | Real | Right | Tumor is better seen at Rt
Observer 1 | 71 | Real | AI | Right
Observer 1 | 72 | AI | Real | Left
Observer 1 | 73 | AI | Real | Left | Better demarcation of tissues at Lt
Observer 1 | 74 | AI | Real | Left
Observer 1 | 75 | Real | AI | Right
Observer 1 | 76 | Real | AI | Right | Tumor is better seen at Rt
Observer 1 | 77 | Real | AI | Right
Observer 1 | 78 | AI | Real | Right
Observer 1 | 79 | Real | AI | Right | Better denarcation of cervical LN at Rt
Observer 1 | 80 | AI | Real | Right | Less noise at Rt
Observer 1 | 81 | Real | AI | Right
Observer 1 | 82 | Real | AI | Right | Both are of poor quality
Observer 1 | 83 | Real | AI | Right | No great difference between both
Observer 1 | 84 | AI | Real | Right
Observer 1 | 85 | Real | AI | Right | No difference between both
Observer 1 | 86 | AI | Real | Left
Observer 1 | 87 | Real | AI | Right
Observer 1 | 88 | AI | Real | Left | Better denmarcation of tissues, less noise at Lt
Observer 1 | 89 | Real | AI | Right | No difference between both
Observer 1 | 90 | Real | AI | Left | GTVP is better seen at Lt
Observer 1 | 91 | Real | AI | Right | Better demarcation between sbmandibular gland and cervical LN at LT
Observer 1 | 92 | AI | Real | Left | No difference between both
Observer 1 | 93 | AI | Real | Left
Observer 1 | 94 | Real | AI | Right | Better demarcation of cervical LN at Rt
Observer 1 | 95 | Real | AI | Right
Observer 1 | 96 | Real | AI | Right | Better demarcation of normal tissues
Observer 1 | 97 | AI | Real | Left
Observer 1 | 98 | Real | AI | Left | Both are of poor quality
Observer 1 | 99 | Real | AI | Right | GTVP is better seen at Rt
Observer 1 | 100 | Real | AI | Right | Lt RP is better seen at Rt